## All Implants
Medical Device name | MDCompany | Comment | Class | CE MDD | Indication | CE year | CE due | Application date | NB
permanent Implants (Class III) | A
Xience Pro Stent | Abbott (SJM) |  | Class III | ? | Coronaries |  | 2024-05-26
Amplatzer PDA Okkluder I + II | Abbott (SJM) |  | Class III | YES | PDA | 1999 | 2024-05-26
Amplatzer PDA-R Piccolo | Abbott (SJM) |  | Class III | YES | PDA | 2019 | 2024-05-26
Amplatzer PFO-Okkluder | Abbott (SJM) |  | Class III | YES | PFO/ASD | 1999 | 2024-05-26
Amplatzer Septal Okkluder | Abbott (SJM) |  | Class III | YES | PFO/ASD | 1998 | 2024-05-26
Amplatzer Vascular Plug II | Abbott (SJM) |  | Class III | YES | Peripheral | 2007 | 2024-05-26
Amplatzer Vascular Plug IV | Abbott (SJM) |  | Class III | YES | Peripheral | 2009 | 2024-05-26
Amplatzer VSD-Okkluder | Abbott (SJM) |  | Class III | YES | VSD | 1998 | 2024-05-26
Myodex elektroden 1084 T 25,35,(60) cm | Abbott (SJM) |  | Class III | ? |  |  | 2024-05-26
Andra XL/XXL Stent | Andramed |  | Class III | NO |  |  | na
Optimus XXL Stent cov./non-cov. | Andratech |  | Class III | NO |  |  | na
Coroflex ISAR Neo Stents | B/Braun |  | Class III | Yes | Coronaries |  | 2024-05-26
Balt Optima Coil System | Balt |  | Class III | yes | MAPCA closure |  | 2024-05-26
Valeo -Stent | Bard |  | Class III | YES | Peripheral |  | 2024-05-26
BeGraft Aortic | BeGraft |  | Class III | YES | Aortic |  | 2024-05-26
BeGraft peripheral | BeGraft |  | Class III | YES | Peripheral |  | 2024-05-26
BeGrow | Bentley |  | Class III | NO |  | Missing certification | na
Pro kinetic Energy Stent | Biotronic |  | Class III |  |  |  | 2024-05-26
Magmaris Stent | Biotronik |  | Class III | ? | Coronaries |  | 2024-05-26
Promus Stent | Boston |  | Class III | ? |  |  | 2024-05-26
Multi-Link Vision Bare Stent | Boston |  | Class III | yes | peripheral |  | 2024-05-26
Complex Helical - 18 Coil | Boston Scientfic |  | Class III | Yes | Peripheral |  | 2024-05-26
Rebel Stent | Boston Scientfic |  | Class III | YES | Coronaries |  | 2024-05-26
Coroflex Blue Neo 4x8mm | Braun Melsungen |  | Class III |  |  |  | 2024-05-26
Caraq ASD Device | Caraq |  | Class III | NO | ASD/PFO |  | na
Palmaz Stent Genesis | Cardinal Health |  | Class III | CE for adults ? |  |  | ?
Cook-PDA Coil, MReye | Cook Medical |  | Class III | Not available | PDA | stop EU-MDR 2021 | na
Formula Stent 414, 418, 535 | Cook Medical |  | Class III | Limited availability | Peripheral | Partly stop | na
Cook Detach Coil | Cook Medical |  | Class III | YES | Peripheral | stop EU-MDR 2021 | 2024-05-26
Nester Coils | Cook Medical |  | Class III | YES | Peripheral |  | 2024-05-26
Hilal Emob. Microcoil | Cook Medical |  | Class III | YES | Peripheral |  | 2024-05-26
Palmaz Stent PG1910XD | Cordis |  | Class III | ? | Aortic /Pulmonic |  | 2024-05-26
PalmazBlue Stent | Cordis |  | Class III | ? |  |  | 2024-05-26
SAPIEN Pulmonic | Edwards Lifesciences |  | Class III | YES | RVOT/PK | 2010 | 2024-05-26
Sapien XT Edwards Klappe | Edwards Lifesciences |  | Class III | YES | RVOT/Conduit | 2014 | 2024-05-26
Sapien S3 Edwards Klappe | Edwards Lifesciences |  | Class III | YES | RVOT/PK/Conduit | 2019 | 2024-05-26
Sapien ULTRA Edwards Klappe | Edwards Lifesciences |  | Class III | YES | TAVI |  | 2024-05-26
Cardioform ASD Okkluder (GCA) | GORE |  | Class III | YES | ASD/PFO | 2019 | 2024-05-26
Cardioform Septal Okkluder (GSO) | GORE |  | Class III | YES | ASD/PFO | 2011 | 2024-05-26
Ceraflex PFO Okkluder | Lifetech |  | Class III | YES | ASD/PFO |  | 2024-05-26
Konar MF- VSD-Okkluder | Lifetech |  | Class III | YES | VSD | 2018 | 2024-05-26
Ceraflex ASD-Occluder | Lifetech |  | Class III | YES | ASD/PFO | 2014 | 2024-05-26
Stent LD Mega | Medtronic (Ev3) |  | Class III | Not available | Peripheral | Stopped 2021 during MDD | na
Stent LD MAX | Medtronic (Ev3) |  | Class III | Not available | Peripheral | Stopped 2021 during MDD | na
Bare-Metal-Stent Integrity | Medtronic |  | Class III | YES | Coronaries |  | 2024-05-26
Concerto Coils | Medtronic |  | Class III | YES | Peripheral |  | 2024-05-26
DRIVER Stent | Medtronic |  | Class III | ? |  |  | 2024-05-26
Melody-Klappe | Medtronic |  | Class III | YES | RVOT/Conduit/ BPV(2016) | 2006 _ 2016 | 2024-05-26
Protege GPS | Medtronic (Ev3) |  | Class III | YES |  |  | 2024-05-26
CP-Stent Bare 8 ZIG | NuMED |  | Class III | YES | Aortic /RVOT |  | 01.01.2024 | NuMed will apply | SGS
CP-Stent covered 10ZIG | NuMED |  | Class III | YES | Aortic /RVOT |  | 01.01.2025 | NuMed will apply | SGS
CP-Stent covered 8 ZIG | NuMED |  | Class III | YES | Aortic /RVOT |  | 01.01.2024 | NuMed will apply | SGS
Mounted CP-Stent covered 8 ZIG | NuMED |  | Class III | YES | Aortic /RVOT |  | 01.05.2024 | NuMed will apply | SGS
NUDEL | NuMED |  | Class III | YES |  |  | 01.05.2024 | NuMed will apply | SGS
Occlutech Figulla Flex II ASD - fenestrated | Occlutech |  | Class III | No | ASD/PFO | Compassionate use only | na
Occlutech Figulla Flex II ASD-occluder | Occlutech |  | Class III | YES | ASD/PFO | 2007 | 2024-05-26
Atrial Flow Regulator (AFR) | Occlutech |  | Class III | YES | Atrial Septum with HF | 2019 | 2024-05-26
Occlutech PDA Occluder | Occlutech |  | Class III | YES | PDA |  | 2024-05-26
Occlutech VSD Occluder | Occlutech |  | Class III | YES | VSD |  | 2024-05-26
Resolute Onyx Stent | Onyx |  | Class III | YES | Coronaries |  | 2024-05-26
Sinus Superflex DS | OptiMed |  | Class III | YES | PDA | stop 2022 due to EU-MDR | 2024-05-26
Sinus XL Stent | OptiMed |  | Class III | YES |  | stop 2022 due to EU-MDR | 2024-05-26
Babystent | Osypka |  | Class III | No | Aorta | Not released | na
Penumbra Ruby Coil | Penumbra |  | Class III | ? | Peripheral |  | 2024-05-26
Nit-Occlud PDA | pfm |  | Class III | YES | PDA |  | 2024-05-26 | 2022-11-30 | DEKRA
Nit-Occlud Lê VSD | pfm |  | Class III | YES | VSD |  | 2022-07-01 | 2021-04-30 | DEKRA
Nit-Occlud PFO device | pfm |  | Class III | YES | Atrial septum |  | 2022-07-01 | unclear | DEKRA
Nit-Occlud ASD device | pfm |  | Class III | YES | Atrial septum |  | 2022-07-01 | unclear | DEKRA
Valeo stent | Bard |  | Class III | yes | peripheral stent | stop 2022 due to EU-MDR
passager Devices (Class II)
Balt 3F kurze Schleuse | Balt |  | Class IIb |  |  |  | 2024-05-26
3F Diagn. Katheter | Bard | [5 empty] | 2024-05-26
HF Coaxial Draht | Baylis |  |  | Yes |  |  | 2024-05-26
HF transeptale Nadel, Nykanen | Baylis |  |  | Yes |  |  | 2024-05-26
Miller Rashkind ballons | Bexter/ Röser |  |  | ? |  |  | 2024-05-26
Cutting Ballon | Boston Scientific |  |  | Yes | Peripheral/Coronary |  | 2024-05-26
Biopsie Zange 5,2F | Cook |  |  | Yes |  |  | 2024-05-26
Mullins-sheath | Cook |  |  | Yes |  | stop 2022 due to EU-MDR | 2024-05-26
Hausdorf-Sheath | Cook |  |  | Yes |  | stop 2022 due to EU-MDR | 2024-05-26
Cook Transseptal- Nadel | Cook medical (Rückruf) |  |  | Yes |  | Recall 2021 ? | 2024-05-26
Biopsy forceps | Cordis |  |  | Yes | Endomyokard |  | 2024-05-26
Biopsiezange 5,5F | Cordis | [5 empty] | 2024-05-26
Sabre Ballon | Cordis | [5 empty] | 2024-05-26
Rashkind-Katheter (Fogarty) | Edwards Lifesciences |  |  | Not available | Atrial septum | stopped | 2024-05-26
Maslanka forceps | H+H Maslanka |  |  | no |  |  | 2024-05-26
Medtronic Rashkind Ballon | Medtronic |  |  | Not available | Atrial septum | Recall 2020 | na
Brockenbrow needle | Medtronic | [5 empty] | 2024-05-26
Z5 Atrio -Rashkind Ballon | NuMed |  | Class III | No | Atrial septum | NuMed will apply | 2023-07-01 | 2024-02-01 | SGS
Z6 Atrio -Rashkind Ballon | NuMED | only FDA approval in 2022 | Class III | Yes | Atrial septum | NuMed will not apply MDR | FDA only | 2024-02-01 | SGS
Multi-Snare | PFM |  | Class IIb |  |  |  | 26.05.2024 | 2023-03-31 | DEKRA
Transseptale Nadel | St Jude Medical |  |  | ? Recall ? |  |  | 2024-05-26
Schleuse Slender | Terumo |  | Class IIb |  |  |  | 2024-05-26
Terumoschleusen alle Größen | Terumo |  | Class IIb |  |  |  | 2024-05-26
APT | PFM |  | Class IIb | Yes |  |  | 2022 | recertified until 2029 ? | DEKRA
D`VILL sheath | NuMED |  | Class IIb | Yes |  |  | 2024-05-26
BIB | NuMED |  |  | Yes |  |  | 01_2023 |  | SGS
Z-Med II | NuMED |  |  | Yes |  |  | 01_2023 |  | SGS
Tyshak | NuMED |  |  | Yes |  |  | 01_2023 |  | SGS
Multi-Track | NuMed | diagnostic catheter |  | yes | diagnostic catheter | stop 2022 due to EU-MDR
Mini Ghost PTA Catheter | NuMed |  |  | yes | balloon | stop 2022 due to EU-MDR
Bonhoeffer Mitral Kit | NuMed |  |  | yes | balloon | stop 2022 due to EU-MDR
Edwards Rashkind | Edwards Lifesciences | only FDA approval in 10_2021 | Rashkind |  |  |  | na
Bear Hugger |  | Heating Cushion |  | yes | Heating Cushion | stop 2022 due to EU-MDR
not introduced in European market due to prohibitive costs MDR
Z6 Rashkind | Numed | balloon |  | no | septostomy in newborn | NuMed will not apply MDR
G-Armo | Numed | stent |  | no | coarctation | NuMed will not apply MDR
Edwards Rashkind | Edwards Lifesciences | only FDA approval in 10_2021 | Rashkind |  |  | ? No priority
Note on E1: Schubert, Stephan: Red = No Orange = unclear green = CE certified from MDD
Note on H1: Schubert, Stephan: If not know, latest is Mai 2024
Note on G30: Schubert, Stephan: Unterschiedliche Größen seit 2020 nicht mehr produziert
Note on E90: Schubert, Stephan: Urgent Safety Notice/Recall 01.08.2020
Note on H100: Schubert, Stephan: Klären, wenn eingereicht ist, sollte die Zeit nach MDD verlängert werden !